## Facility Info
Lead in Drinking Water - School and Child Care Center Reporting Template
This spreadsheet is for Minnesota child care centers, public and charter schools to report lead in drinking water results and remediation actions to the Minnesota Department of Health (MDH)
Please complete the spreadsheet to the best of your ability. One spreadsheet per building. MDH staff may reach out to the contact person if there are questions.
Directions for this template can be found at Results Reporting Instructions and FAQ (PDF).
Facility or Building Name | Minnewaska Area High/Middle School | Summary |  | SUMMARY | ANSWER
Blank cells |  |  |  | Total number of samples | 39
Did the facility test using the MDH testing program (WIIN)? (Yes or No) | No |  |  | Total number of fixtures sampled | 39
Blank cells |  |  |  | Total number of results above 5 ppb | 3
Facility Type (School or Child Care) | School |  |  | Total number of remediation actions | 3
Blank cells |  |  |  | Next Scheduled Sampling Date (Month/Year) | 2029-02-01
School ID Number or Child Care License Number | 2149-01 | Blank Cells | Blank cells
Blank cells
Facility or Building Address | 25122 State Hwy 28 Glenwood, MN 56334 | Blank Cells | Blank Cells
Blank cells
Mailing Address | 25122 State Hwy 28 Glenwood, MN 56334
Blank row
Contact Person | Jeremy Armstrong
Blank row
Title | District Buildings & Grounds Director
Blank row
Phone | 320-239-4820
Blank row
Email | jarmstrong@isd2149.org
Blank row
Lead Related Website (if applicable-required for schools)
Blank row
Date submitted to MDH (to be completed by MDH staff)
Blank row
Blank row
Minnesota Department of Health
Email MDH Lead Results Reporting (Lead.Results.Reporting.MDH@state.mn.us)
Blank row
To obtain this information in a different format, call 651-201-4700.

## Results_Remediation
Unique Sample Site Identification Number | Fixture Type | Location Description | Fixture Status | Sample Collection Type | Laboratory Identification Number (optional) | Date/Time Collected | Date/Time Analyzed | Numeric Result | Unit of Measure | Name of Laboratory Used For Analysis | Remediation Action | Other Remediation-Please Describe | Was Remediation Successful (ie. Follow-up testing below 5 ppb) | Additional Notes or Comments | Temporarily Removed From Service | Yes
HS-3 | Fountain | G132 Weightroom Fountain | Active-Consumption | Initial first draw | 41588001 | 02/21/2024 05:42 | 02/29/2024 13:34 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Permanantly Removed From Service | No
HS-4 | Fountain | Outside Cafeteria West Drinking Fountain | Active-Consumption | Initial first draw | 41588002 | 02/21/2024 05:44 | 02/29/2024 13:35 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Fixture Replaced | Pending Results
HS-5 | Faucet | Double Sink West Kitchen Cooking Faucet | Active-Consumption | Initial first draw | 41588003 | 02/21/2024 05:49 | 02/29/2024 13:36 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Individual Flushing Program-Daily | N/A
HS-6 | Faucet | Triple Sink North Kitchen Cooking Faucet | Active-Consumption | Initial first draw | 41588004 | 02/21/2024 06:00 | 02/29/2024 13:37 | 0.58 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Individual Flushing Program-Twice Daily
HS-7 | Faucet | Clevelabd Double Cooker Steam Kitchen Faucet | Active-Consumption | Initial first draw | 41588005 | 02/21/2024 06:03 | 02/29/2024 13:38 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Individual Flushing Program-Other
HS-8 | Faucet | Clevelabd Steam Kettle Sprayer Faucet | Inactive-Nonconsumption | Initial first draw | 41588006 | 02/21/2024 06:08 | 02/29/2024 13:39 | 6.55 | ug/L | Minnesota Valley Testing Laboratories, Inc. | Temporarily Removed From Service |  | Pending Results |  | Building Flushing Program-Daily
HS-10 | Fountain | Band Room Drinking Fountain | Active-Consumption | Initial first draw | 41588007 | 02/21/2024 06:11 | 02/29/2024 13:40 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Building Flushing Program-Twice Daily
HS-11 | Fountain | Choir Room Drinking Fountain | Active-Consumption | Initial first draw | 41588008 | 02/21/2024 06:15 | 02/29/2024 13:41 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Building Flushing Program-Other
HS-12 | Fountain | G128 Wrestling Room Fountain | Active-Consumption | Initial first draw | 41588009 | 02/21/2024 06:17 | 02/29/2024 13:43 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Aerator Cleaning - Quarterly
HS-13 | Fountain | Aux Gym Hall Drinking Fountain | Active-Consumption | Initial first draw | 41588010 | 02/21/2024 06:19 | 02/29/2024 13:44 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Aerator Clearning-6months
HS-14 | Faucet | H101 Custodial Lounge Faucet | Active-Consumption | Initial first draw | 41588011 | 02/21/2024 06:24 | 02/29/2024 13:52 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Aerator Cleaning-Other
HS-16 | Fountain | Sr. High Boy's Locker Room Fountain | Active-Consumption | Initial first draw | 41588012 | 02/21/2024 06:28 | 02/29/2024 13:53 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | New Filter Installed
HS-18 | Fountain | Auditorium Hall Entrance Fountain | Active-Consumption | Initial first draw | 41588013 | 02/21/2024 06:32 | 02/29/2024 13:54 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Existing Filter Changed
HS-19 | Fountain | Jr. High Boy's Locker Room Fountain | Active-Consumption | Initial first draw | 41588014 | 02/21/2024 00:00 | 02/29/2024 13:55 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Signage Posted -Handwashing Only, Do Not Drink
HS-20 | Faucet | District Office Faucet | Active-Consumption | Initial first draw | 41588015 | 02/21/2024 06:37 | 02/29/2024 13:56 | 4.57 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Signage Posted- Laboratory Use Only, Do Not Drink
HS-24 | Fountain | Sr High Girl's Drinking Fountain | Active-Consumption | Initial first draw | 41588016 | 02/21/2024 05:35 | 02/29/2024 13:57 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A |  | Other-Please Describe
HS-26 | Fountain | JH Girl's Locker Room Fountain | Active-Consumption | Initial first draw | 41588017 | 02/21/2024 05:30 | 02/29/2024 13:58 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-27 | Faucet | E156 Main Station Faucet | Active-Consumption | Initial first draw | 41588018 | 02/21/2024 06:42 | 02/29/2024 13:59 | 2.88 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-28 | Faucet | E156 Station 1 Faucet | Active-Consumption | Initial first draw | 41588019 | 02/21/2024 06:44 | 02/29/2024 14:00 | 1.00 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-29 | Faucet | E156 Station 2 Faucet | Active-Consumption | Initial first draw | 41588020 | 02/21/2024 06:46 | 02/29/2024 14:01 | 1.52 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-30 | Faucet | E156 Station 3 Faucet | Active-Consumption | Initial first draw | 41588021 | 02/21/2024 06:47 | 02/29/2024 14:10 | 1.04 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-31 | Faucet | E156 Station 4 Faucet | Inactive-Nonconsumption | Initial first draw | 41588022 | 02/21/2024 06:49 | 02/29/2024 14:11 | 8.33 | ug/L | Minnesota Valley Testing Laboratories, Inc. | Temporarily Removed From Service |  | Pending Results
HS-32 | Faucet | E156 Station 5 Faucet | Active-Consumption | Initial first draw | 41588023 | 02/21/2024 06:51 | 02/29/2024 14:12 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-33 | Faucet | E156 Station 6 Faucet | Active-Consumption | Initial first draw | 41588024 | 02/21/2024 06:52 | 02/29/2024 14:13 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-34 | Faucet | E152 Station 1 Faucet | Active-Consumption | Initial first draw | 41588025 | 02/21/2024 06:56 | 02/29/2024 14:14 | 0.65 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-35 | Faucet | E15 Station 2 Faucet | Inactive-Nonconsumption | Initial first draw | 41588026 | 02/21/2024 06:57 | 02/29/2024 14:15 | 11.1 | ug/L | Minnesota Valley Testing Laboratories, Inc. | Temporarily Removed From Service |  | Pending Results
HS-37 | Fountain | Main Entry #2 from West Fountain | Active-Consumption | Initial first draw | 41588027 | 02/21/2024 07:00 | 02/29/2024 14:16 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-38 | Fountain | Main Entry #3 from West Fountain | Active-Consumption | Initial first draw | 41588028 | 02/21/2024 07:01 | 02/29/2024 14:17 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-41 | Faucet | C128 Faucet | Active-Consumption | Initial first draw | 41588029 | 02/21/2024 07:04 | 02/29/2024 14:18 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-42 | Fountain | C112 Hall Drinking Fountain | Active-Consumption | Initial first draw | 41588030 | 02/21/2024 07:10 | 02/29/2024 14:19 | 1.68 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-43 | Fountain | C127 Hall Drinking Fountain | Active-Consumption | Initial first draw | 41588031 | 02/21/2024 07:08 | 02/29/2024 14:27 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-44 | Faucet | C141 Faucet | Active-Consumption | Initial first draw | 41588032 | 02/21/2024 07:12 | 02/29/2024 14:28 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-45 | Fountain | C Wing Restroom Hall Fountain | Active-Consumption | Initial first draw | 41588033 | 02/21/2024 07:14 | 02/29/2024 14:29 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-46 | Fountain | C155 Hall Drinking Fountain | Active-Consumption | Initial first draw | 41588034 | 02/21/2024 07:17 | 02/29/2024 14:30 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-49 | Faucet | B124 Faucet | Active-Consumption | Initial first draw | 41588035 | 02/21/2024 07:22 | 02/29/2024 14:32 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-50 | Fountain | B134 Hall Drinking Fountain | Active-Consumption | Initial first draw | 41588036 | 02/21/2024 07:24 | 02/29/2024 14:33 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-51 | Fountain | A Wing Restroom Hall Fountain | Active-Consumption | Initial first draw | 41588037 | 02/21/2024 07:26 | 02/29/2024 14:34 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-52 | Fountain | A128 Hall Drinking Fountain | Active-Consumption | Initial first draw | 41588038 | 02/21/2024 07:29 | 02/29/2024 14:35 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-53 | Faucet | Main Concession Stand Faucet | Active-Consumption | Initial first draw | 41588039 | 02/21/2024 07:32 | 02/29/2024 14:36 | 4.55 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-38 | Fountain | Main entry #3 from west fountain-Retest after 30 second flush | Active-Consumption | Follow-up Flushed | 42155001 | 03/04/2024 10:22 | 03/11/2024 13:54 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-41 | Faucet | C128 faucet-Retest after 30 second flush | Active-Consumption | Follow-up Flushed | 42155002 | 03/04/2024 10:24 | 03/11/2024 13:55 | <0.5 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A
HS-42 | Fountain | C112 hall drinking fountain-Retest after 30 second flush | Active-Consumption | Follow-up Flushed | 42155003 | 03/04/2024 10:33 | 03/11/2024 13:57 | 2.87 | ug/L | Minnesota Valley Testing Laboratories, Inc. |  |  | N/A

## Definitions
Definitions of Reporting Fields
Field Name | Response Needed or Definition | Where does this information come from?
Unique Sample Site Identification Number | A unique number or code using numbers and or letters that a facility assigns to each fixture in the building. This prevents confusion about which sample goes with which fixture. | Facility
Fixture Type | Describes the type of fixture such as sink, fountain, bottle filler, ice machine, kitchen kettle, coffee machine, etc.. | Facility
Location Description | Specific description of the location of the fixture. Ex. Classroom sink in Room 112 or Left drinking fountain in gym | Facility
Fixture Status | Describes if the fixture is currently being used and how it is used. Examples are Active-Consumption, Inactive-Consumption, Active-Nonconsumption, Inactive-Nonconsumption | Facility
Sample Collection Type | Initial first draw, Initial Flushed, Follow-up First Draw, Follow-up Flushed, Other | Facility
Laboratory Identification Number | Number assigned by the laboratory to each sample. It may be helpful for facilities using this spreadsheet to cross reference to their lab results. (Optional) | Lab
Date/Time Collected | Date and time the sample was collected Ex. 2/12/2024 7:03 PM or 3/8/24 13:02 | Lab
Date/Time Analyzed | Date and time the sample was analyzed Ex. 2/12/2024 7:03 PM or 3/8/24 13:02 | Lab
Numeric Result | This is the number representing the result reported by the lab. Ex. 5.12, 7.03, 89.02, for results that are not detected please use ND | Lab
Unit of Measure | This is the unit of the result reported by the lab Ex. Parts per billion (ppb), micrograms per liter (ug/L). | Lab
Name of Laboratory Used For Analysis | The name of the laboratory used for sample analysis. | Lab
Remediation Action | Describes the type of remediation (if needed). Select from drop down menu. You only need to complete if result is 5ppb or more. If the action you took is not listed select OTHER and describe | Facility
Other Remediation-Please Describe | Use this field to type in your remediation action if the choice was not listed in the Remediation Action Drop down menu. | Facility
Was Remediation Successful (ie. Follow-up testing below 5 ppb) | Select from the drop down. Options are Yes, No, Not Applicable(N/A), and Pending Results | Facility
Other Important Terms | Definitions
Consumption | For the purposes of this testing consumption means a fixture where the water is used for drinking water or food/formula preparation.
Non-Consumption | A fixture that is not used for drinking water or food preparation such as a laboratory sink or a mop sink in a locked custodial closet. MDH recommends that non-consumption fixtures be labeled as not for drinking if they are not tested.
Active | A fixture currently able to be used.
Inactive | A fixture that has been taken out of service either temporarily or permanantly
First Draw | A type of water sample where the water has been stagnant for 8-18 hours before collecting a sample. The most common type of lead sample type.
Flushed | A type of water sample where the water has been allowed to run before collecting. Typically collected when investigating to source of lead or evaluating remediation options.
Initial | This is typically a first draw sample collected during a round of monitoring. A sample may be an initial-first draw or an initial-flushed
Follow-up | This is typically collected if an initial sample collected during a round of sampling is 5ppb or more. Follow-up samples can be repeated first draw samples or flushed samples depending on the type of follow-up activities conducted to reduce lead.

## Drop Downs (hidden)
Lead | Previous Materials Evaluation | Yes | Customer self-identification | Single Family Residence | No | GPS Coordinates
Galvanized Requiring Replacement | Installation record (e.g., tap card)-describe in notes | No | CCTV investiation at curb stop-internal | Multiple Family Residence | Yes - School | Parcel ID
Non-Lead | Installation date after statewide lead ban (1/1/85) | Unknown | CCTV investiation at curb stop-external | Building | Yes - Day Care | Other
Unknown | Installation date after local lead ban (provide date in notes) |  | Water quality sampling | Other | Yes - Multifamily Home
| Service line diameter is > 2 inches |  | Mechanical excavation at one location |  | Yes - Other
| Service line repair or replacement record |  | Mechanical excavation at multiple locations
| Water sampling only with no records |  | Visual inspection at meter
| Field inspection only with no records |  | Other
Other